## Sheet1
1. Trap location in building use either actual location or trap tag # (If all traps in building have been sequentially number for identification | 2. MFG Name | 3. Pipe size | 4. Model # | 5. Sys. Op Press. | 6. Trap press. Rate | 7. Type of unit trapped | 8. Other information | 9. Complete trap replacement | 10. Repair Existing Trap | 11. Floor
Crawl space | Sarco | 3/4" | F&T |  |  | Return |  |  |  | Sub-basement
Crawl space | Sarco | 1" | F&T |  |  | Return |  |  |  | Sub-basement
Crawl space | Trane | 1-1/2" |  |  |  | Return |  |  |  | Sub-basement
Crawl space | Trane | 3/4" | F&T |  |  | Return |  |  |  | Sub-basement
Crawl space | Trane | 2" | F&T |  |  | Return |  |  |  | Sub-basement
Crawl space | Trane | 3/4" | B3 |  |  | Return |  |  |  | Sub-basement
Crawl space | Trane | 1/2" | B1 |  |  | Return |  |  |  | Sub-basement
Crawl space | Trane | 1/2" | F&T |  |  | Return |  |  |  | Sub-basement
Crawl space | Sarco | 1-1/4" | F&T |  |  | Return |  |  |  | Sub-basement
Boiler room |  | 3/4" | [7 empty] | Sub-basement
Boiler room |  | 3/4" | [7 empty] | Sub-basement
Boys Room | Trane | 1/2" |  |  |  | Convector |  |  |  | Basement
Cleaning leader | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Basement
Custodian office | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Basement
Faculty Lunch Room | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Basement
Faculty Lunch Room | Trane | 3/4" | B3 |  |  | Convector |  |  |  | Basement
Girls room | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Basement
Hallway | Trane | 3/4" |  |  |  | Unit ventilator |  |  |  | Basement
Hallway | Trane | 1/2" |  |  |  | Unit ventilator |  |  |  | Basement
Hallway | Trane | 1/2" |  |  |  | Unit ventilator |  |  |  | Basement
Lunch room | Trane | 1" |  |  |  | Unit ventilator |  |  |  | Basement
Lunch room | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Basement
Room 01 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 01 | Trane | 3/4" | F&T |  |  |  | Bucket trap |  |  | Basement
Room 02 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 02 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Basement
Room 03 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 03 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Basement
Room 04 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 04 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Basement
Room 05 | Trane | 3/4" | B1 |  |  | Unit ventilator |  |  |  | Basement
Room 05 | Trane | 1/2" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 06 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Basement
Room 06 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 07 | Trane | 1/2" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 07 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 08 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 08 | Trane | 1/2" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 09 | Trane | 1/2" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 09 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 10 | Trane | 1/2" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 10 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 11 | Trane | 1/2" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 11 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 12 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 12 | Trane |  | B3 | [6 empty] | Basement
Room 13 | Trane |  | B3 | [6 empty] | Basement
Room 13 | Trane |  | B3 | [6 empty] | Basement
Room 14 | Trane |  | B3 | [6 empty] | Basement
Room 14 | Trane |  | B3 | [6 empty] | Basement
Room 15 | Trane |  | B3 | [6 empty] | Basement
Room 16 | Trane | 3/4" | B3 |  |  | Convector |  |  |  | Basement
Room 17 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 17 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 17 | Trane | 3/4" | B3 |  |  | Convector |  |  |  | Basement
Room 18 | Trane | 1/2" | B3 |  |  | Convector |  |  |  | Basement
Room 19 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Basement
Room 20 | Hoffman | 3/4" | 8C |  |  | Convector |  |  |  | Basement
Room 23 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Basement
Room 23 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Basement
Room 24 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Basement
Room 25 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Basement
Boys Room | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Female Teacher Lounge | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Female Teacher Room | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Girls Room | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Hallway | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Hallway | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | First Floor
Male Teacher Lounge | Trane | 1/2" | B1 |  |  | Radiator |  |  |  | First Floor
Male Teacher Room | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Stage | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | First Floor
Room 104 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | First Floor
Room 104 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | First Floor
Room 107 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Room 113A | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Room 115 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | First Floor
Room 116 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | First Floor
Room 116 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | First Floor
Room 117 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | First Floor
Room 117 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | First Floor
Room 118 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | First Floor
Room 118 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | First Floor
Room 119 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | First Floor
Room 119 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | First Floor
Room 120 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | First Floor
Room 120 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | First Floor
Room 120A | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Room 121 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | First Floor
Room 121 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | First Floor
Room 122 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | First Floor
Room 122 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | First Floor
Room 123 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | First Floor
Room 123 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | First Floor
Room 123A | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Room 123B | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Room 124 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Room 125 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | First Floor
Room 125 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | First Floor
Room 127 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | First Floor
Room 127 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | First Floor
Room 129 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Room 131 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | First Floor
Room 131 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | First Floor
Room 133 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | First Floor
Room 133 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Room 135 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | First Floor
Room 137 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | First Floor
Room 140 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | First Floor
Room 150 | Trane | 3/4" | B3 |  |  | Convector |  |  |  | First Floor
Room 152 | Trane | 3/4" | B3 |  |  | Convector |  |  |  | First Floor
Room 154 | Trane | 3/4" | B3 |  |  | Convector |  |  |  | First Floor
Room 162 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Room 162A | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Room 164 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Room 164A | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Room 173 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | First Floor
Alumni Office | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Boys Room | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Second Floor
Fan Room | Trane | 1" | F&T | [6 empty] | Second Floor
Fan Room | Trane | 1/2" | B1 | [6 empty] | Second Floor
Female Teacher Lounge | Trane | 1/2" | B1 |  |  | Radiator |  |  |  | Second Floor
Girls room | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Second Floor
Girls room | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Second Floor
Library | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Library Office | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Second Floor
Male Teacher Lounge | Trane | 3/4" | B3 |  |  | Convector |  |  |  | Second Floor
Room 200 | Trane | 3/4" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 200 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 201 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 201 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 202 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 202 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 203 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 203A | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Second Floor
Room 205 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 206 | Trane | 3/4" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 206 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 206A | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Second Floor
Room 207 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 208 | Trane | 3/4" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 208 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 209 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 210 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 210 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 212 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 212 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 213 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 214 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 214 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 215 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Second Floor
Room 216 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 216 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 217 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 217 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 218 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 218 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 219 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Second Floor
Room 219 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Second Floor
Room 219 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 220 | Trane | 3/4" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 220 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 222 | Trane | 3/4" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 222 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 223 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Second Floor
Room 223 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 225 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 225 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 225 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Second Floor
Room 226 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Second Floor
Room 226 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Second Floor
Room 227 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 227 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 227 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 228 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 228 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 229 | Trane | 1/2" | B1 |  |  | Convector |  |  |  | Second Floor
Room 229 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 230 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 230 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 231 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 231 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 232 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 232 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 233 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 233 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 233 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 234 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 234 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 235 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 235 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 236 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 236 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 238 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 238 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 238 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 240 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 240 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 242 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 242 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor
Room 244 | Trane | 3/4" | B3 |  |  | Unit ventilator |  |  |  | Second Floor
Room 244 | Trane | 1/2" | B1 |  |  | Unit ventilator |  |  |  | Second Floor