## Sheet1
Adams Solar Civil Construction RFP Appendix
Company Name:
Expected Deliverables Upon Award / Execution
Work Plan
Project Schedule
Safety Plan
Quality Plan
Grading Logs
Monthly Reports
Daily Reports
Scope Items for Bid |  |  | Included (Y/N) | Cost | Notes
Inspections/Compliance
PA DEP
PennDOT
Local AHJ/County
PennDOT Construction Entrances
Dust control
Wash racks (if specified in drawings)
Construction Traffic Control (as needed)
Flaggers
Signage
Erosion and Sediment Control
Excavation/backfill for drainage features
Silt fencing
Stormwater conveyance channels
Outlet protection
Rock check dams
Riprap
Soil stabilization blankets/matting
Flexamat
Temporary seeding
Permanent seeding
Topsoiling
Mulching
Flagging wetlands
ESC facility maintenance throughout construction
Removal and disposal of temporary ESC measures
SWM BMPs
Sediment basins (substation area)
Implementation of provided SWPPP
RCP, HDPE Pipe
Filter fabric
Concrete risers
Concrete cradles
Facility maintenance throughout construction
Site Clearing
Stump removal
Root removal
Raking/grinding
Site Grading
Cut/fill to grade
Leveling to grade
Removing topsoil
Stockpiling topsoil
Replacement of topsoil
Finish grading
Temporary laydown areas
Laydown yard reclamation
Hauling and disposal of import/export material
Site stabilization
Compaction/Decompaction
Soil tilling
Soil Remediation
Soil Matting on steep slopes (as needed)
Seeding (temporary & permanent)
Roadways and Driveways
Access and maintenance roads
Road stabilization and testing
Equipment pads/foundations
Inverter locations
Combiner box locations
SCADA locations
T&M Rate Schedule for Additional Construction
Loading and unloading materials
Trench assistance
Soil Filtering
Site Maintence (past completion date)
Exclusions
Mechanical/structural
Electrical
Civil work in MV cable easements
Trench/Backfill for electrical
Landscaping
Arborists/Planting
Add Alternates
Fencing (optional, separate on bid)
Perimeter security fencing
Access gates
Knox box
Aggregate Sifter & Sifter w/ Operator (8-12 week)
Miscellaneous