## Gas Flow Measurement Table
Table 1: Gas Flow Measurement Table
| Measures: | Meter Location | Manufacturer | Meter Type | Meter Model | Certification | Photo | ID# on Plant Map
Plant-Side (PWD) | Biogas Flow From Digester 9 | 8" sludge gas line coming off Digester 9 | Roots | Rotary Positive Displacement | 23M175 |  |  | 1
| Biogas Flow From Digester 10 | 8" sludge gas line coming off Digester 10 | [5 empty] | 2
| Biogas Flow From Digester 11 | 8" sludge gas line coming off Digester 11 | [5 empty] | 3
| Biogas Flow From Digester 12 | 8" sludge gas line coming off Digester 12 | [5 empty] | 4
| Biogas Flow From Digester 13 | 8" sludge gas line coming off Digester 13 | [5 empty] | 5
| Biogas Flow From Digester 14 | 8" sludge gas line coming off Digester 14 | [5 empty] | 6
| Biogas Flow From Digester 15 | 8" sludge gas line coming off Digester 15 | [5 empty] | 7
| Biogas Flow From Digester 16 | 8" sludge gas line coming off Digester 16 | [5 empty] | 8
| Biogas flow on Combined Digester gas line before H2S removal and Compression | 1st floor of SDT (West end) on the 20" combined line before it exits the building out the window and goes to the SGF basement | Kurz | Wet Gas Thermal Mass Flowmeter | Kurz 454FTB-WGF |  |  | 9
| Biogas flow on discharged side of compressor | SGF | ABB | Venturi (differential Pressure) | 2600T |  |  | 10
Cogen | Biogas flow leaving Dehy-skid | Gas Pretreatment Room at Cogen; on outlet of siloxane skid before the engine room | Endress and Hauser; Webb Kentrol (Vendor) | Ultrasonic flowmeter | 8" ENDRESS HAUSER PROSONIC FLOW 454FTB-08-HT |  |  | 11
| Biogas flow on main header in Engine Room | Main 10" biogas line in Cogen Engine Room | Aft (Vendor) | Thermal Mass flow insertion meter | 454FTB-08-HT |  |  | 12
| Biogas flow on main header in Engine Room | Main 10" biogas line in Cogen Engine Room | Endress & Hauser | Ultrasonic flowmeter | Prosonic Flow 200 |  |  | 13
| Biogas flow into Engine 1 | Biogas Gas train on E1 | Rosemount; Bruns (Vendor) | Mutivariable Gas Transmitter Covered with insulation but looks like either the Rosemount™ 3051S MultiVariable™ Transmitter or a compact orifice flowmeter with a metering spool assembly | 3005MVMRA1AC21E5Q4TI |  |  | 14
| Biogas flow into Engine 2 | Biogas Gas train on E2 | Rosemount; Bruns (Vendor) |  |  |  |  | 15
| Biogas flow into Engine 3 | Biogas Gas train on E3 | Rosemount; Bruns (Vendor) |  |  |  |  | 16
| Biogas flow into Engine 4 | Biogas Gas train on E4 | Rosemount; Bruns (Vendor) |  |  |  |  | 17
| Natural Gas Flow into Engine 1 | NG Gas Train on E1 | Kurz | Thermal Mass flow insertion meter | 454FTB-12-HT |  |  | 18
| Natural Gas Flow into Engine 2 | NG Gas Train on E2 | Kurz | Thermal Mass flow insertion meter | 454FTB-12-HT |  |  | 19
| Natural Gas Flow into Engine 3 | NG Gas Train on E3 | Kurz | Thermal Mass flow insertion meter | 454FTB-12-HT |  |  | 20
| Natural Gas Flow into Engine 4 | NG Gas Train on E4 | Kurz | Thermal Mass flow insertion meter | 454FTB-12-HT |  |  | 21

## Plant (NEWPCP) MASTER list
Table 3: Plant Side (NEWPCP) Master List
Measures? | Meter Location | Manufacturer | Meter Type | Meter Model | Photo | ID# on Plant Map
Flow | 8" sludge gas line coming off Digester 9 | Roots | Rotary Positive Displacement | 23M175 |  | 1
| 8" sludge gas line coming off Digester 10 |  |  |  |  | 2
| 8" sludge gas line coming off Digester 11 |  |  |  |  | 3
| 8" sludge gas line coming off Digester 12 |  |  |  |  | 4
| 8" sludge gas line coming off Digester 13 |  |  |  |  | 5
| 8" sludge gas line coming off Digester 14 |  |  |  |  | 6
| 8" sludge gas line coming off Digester 15 |  |  |  |  | 7
| 8" sludge gas line coming off Digester 16 |  |  |  |  | 8
| 1st floor of SDT (West end) on the 20" combined line before it exits the building out the window and goes to the SGF basement | Kurz | Wet Gas Thermal Mass Flowmeter | Kurz 454FTB-WGF |  | 9
| SGF | ABB | Venturi (differential Pressure) | 2600T |  | 10
Pressure | SDT (Digester Building) | Smar | Pressure Transmitter | M2 |  | 1
2
3
4
5
6
7
8
| SGF | ABB | Pressure Transmitter |  |  | 10